## Slide 1: Autonomous Wheelchair with a storable map-generation system
Presented by,
S.Silvan
V.Surendar
S.Thirunavukkarsu
Guided by,
Ms.S.Madhavi.,M.E

## Slide 2: Content
Aim
Objective
Problem statement
Literature survey
Exiting system
Disadvantages
Proposed system
Advantages
Architecture diagram
System requirements
Reference papers
Conclusion

## Slide 3
Aim
Our aim is to develop a storable map generation algorithm for an autonomous wheelchair to navigate in map less indoor location autonomously.

## Slide 4: Objective
To develop a storable map generation algorithm for Autonomous wheelchair.
Reduction of the time and cost required to develop a map.

## Slide 5: Problem statement
Provide handicap people to drive the wheelchair autonomously.
In general autonomous wheelchair depends upon the map developed by the developer, thus it requires manual input from the user to navigate in the mapless environment.
Our system overcomes this by tracing the path of Autonomous wheelchair while visiting and use it to generate a map by itself which can be stored permanently.

## Slide 6: Literature Survey
Design Considerations for a Personalized Wheelchair Navigation System
Dan Ding, Hassan A. Karimi and Gede Pramana
Approach:
Wheelchair navigation system based on a PDA equipped with wireless Internet access and GPS that can provide adaptive navigation support to wheelchair users in any geographic environment.
Advantage:
Wheelchair users are provided with accurate and reliable information about access and mobility options, and are notified about changes.
Disadvantage:
Requires internet connection for gathering information about the environment.

## Slide 7: Literature Survey
The Hephaestus Smart Wheelchair System
Richard C. Simpson, Daniel Poirot, and Francie Baxter
Approach:
Describes components that clinicians and wheelchair manufacturers will be able to attach to standard power wheelchairs to convert them into smart wheelchairs.
Advantage:
Provide collision-free travel, aiding the performance of specific tasks and autonomously transporting between locations.
Disadvantage:
Navigates based on manual input.

## Slide 8: Literature Survey
Voice and Touch Screen Based Direction and Speed Control of Wheel Chair for Physically Challenged Using Arduino
M.Prathyusha, K. S. Roy , Mahaboob Ali Shaik
Approach:
Enables a disabled person to move around independently using a touch screen and a voice recognition application which is interfaced with motors through microcontroller.
Advantage:
Dual input type operated wheel chair that is made to work based on voice and touch screen command.
Disadvantage:
Requires user input for navigation to perform each action.

## Slide 9: Literature Survey
Voice Controlled Intelligent Wheelchair
Masato Nishimori, Takeshi Saitoh and Ryosuke Konishi
Approach:
The user can control the wheelchair by voice commands. A grammar-based recognition parser named “Julian” is used in the system. Three type commands, the basic reaction command, the short moving reaction command, and the verification command, are given as input.
Advantage:
Voice is a natural communication way, and voice is one of the easy interfaces.
Disadvantage:
Can only navigated based on user commands.

## Slide 10: Existing system
The existing system requires map as input to navigate autonomously in unknown indoor.
A map is created and stored by the developer for navigation in indoor autonomously.

## Slide 11: Limitations
Map creation requires time and cost.
Require technical knowledge for map creation.

## Slide 12: Proposed system
Our proposed system creates a storable map by itself by tracking the path.
The map can be stored temporarily or permanently.

## Slide 13: Advantages
User can create his own map without any prerequisite knowledge.
Requires less time and memory space.

## Slide 14: Architecture diagram
Arduino
DC Motor
Battery
Ultrasonic
sensor
Bluetooth
Map generator

## Slide 15: Hardware requirements
Arduino microcontroller (UNO R3)
Ultrasonic sensor (HC-SR04)
DC motor (12V)
Motor Driver(L2930)
Battery (5V)
Bluetooth (HC-05)
Map generator

## Slide 16: Software requirements
Python IDE
Arduino IDE

## Slide 17: Arduino UNO
Arduino Uno is a microcontroller board based on the ATmega328P (datasheet). It has 14 digital input/output pins (of which 6 can be used as PWM outputs), 6 analogy inputs, a 16 MHz quartz crystal, a USB connection, a power jack, an ICSP header and a reset.

## Slide 18: DC Motor
A DC motor (1A) is any of a class of rotary electrical machines that converts direct current electrical energy into mechanical energy. The most common types rely on the forces produced by magnetic fields.

## Slide 19: Ultrasonic sensor
An ultrasonic sensor is an instrument that measures the distance to an object using ultrasonic sound waves. An ultrasonic sensor uses a transducer to send and receive ultrasonic pulses.

## Slide 20: Bluetooth HC-05
HC‐05 module is an easy to use Bluetooth SPP (Serial Port Protocol) module, designed for transparent wireless serial connection setup. This serial port bluetooth module is fully qualified Bluetooth V2.0+EDR (Enhanced Data Rate) 3Mbps Modulation with complete 2.4GHz radio transceiver and baseband.

## Slide 21: Arduino IDE
The open-source Arduino Software (IDE) makes it easy to write code and upload it to the board. It runs on Windows, Mac OS X, and Linux. The environment is written in Java and based on Processing and other open-source software.

## Slide 22: Python IDE
Python code editors are designed for the developers to code and debug program easily. Using these Python IDE(Integrated Development Environment), you can manage a large codebase and achieve quick deployment.

## Slide 23: Reference
[1] Richard C. Simpson, Daniel Poirot, and Francie Baxter, “The Hephaestus Smart Wheelchair System,” IEEE transactions on rehabilitation engineering, vol. 10, no. 2, pp. 122-125, 2002.
[2] ’’, Dan Ding, Hassan A. Karimi and Gede Pramana, ‘‘Design Considerations for a Personalized Wheelchair Navigation System’’, Annual International Conference of the IEEE, 2007.
[3] M. Nishimori, T. Saitoh, and R. Konishi, “Voice controlled intelligent wheelchair,” in SICE, 2007 annual conference. IEEE, 2007, pp. 336–340.
[4] M.Prathyusha, K. S. Roy and Mahaboob Ali Shaik , “Voice and Touch Screen Based Direction and Speed Control of Wheel Chair for Physically Challenged Using Arduino,” International Journal of Engineering Trends and Technology (IJETT) - Volume4Issue4- April 2013.

## Slide 24: Conclusion
The system generates a storable map based on the path tracked by the system, thus indoor navigation can be improved by using the map generated by the system at minimum cost and time.

## Slide 25: THANK YOU